## Slide 1
FPGA-based fluorescence microscope
Yi Zhang Zhihao Yuan Tianzhi Wu
Bring real time to multi-channel microscope

## Slide 2
Goals and big picture
Fluorescence lifetime imaging
Off-line processed by MATLAB
Our goal is separate different components based on fluorescence lifetime and display it.
Fluorescence working principle
Different components have different lifetime
The decay curve can be described by exponential function.
I = 270
For the red beads:
For the green beads: =
The can not be used as a criteria, because in general it is decided by the concentration rather than chemical property.
Time ns
Amplitude

## Slide 3
System Setup
SD card
Raw data Taken from Microscope is store here
SD interface
Raw Data
SRAM
Signal
Process
We got the life time here
Classifier
&Pseudo color
Display memory
SRAM
VGA interface
monitor
FPGA

## Slide 4
Classifier
&Pseudo color
Current State of Project
Finished Parts:
1. serialiser & deserialiser
2. Signal process (part used to calculate lifetime, in picture, counter)
3. 31-bit pseduo radom generator & look up table
these parts are used to test 1 & 2
4. VGA display interface

## Slide 5
Current State of Project
Modules in progress:
1. SDcard interface
Read data from SDcard and store it in SRAM on FPGA
problems & difficulty:
- not fimliar with reading SDcard on board
2. test of whole signal process block

## Slide 6
Current State of Project
Not started yet:
1. classifier pesduo color
Read data from SDcard and store it in SRAM on FPGA
2. Cache interface
they will be used to store data from SDcard and output image

## Slide 7
Time line
Week/group member | 3/27-4/1 | 4/2-4/8 | 4/9-4/15 | 4/16-4/24
Yi Zhang | SRAM | VGA interface | VGA display and integrate with system | 
Tianzhi Wu | SD- Card interface and SRAM connection | SD- Card interface and SRAM connection | test & Integrate with system | 
Zhihao Yuan | Signal Process | Pseudo Color | Classifier Integrate with System | 
Group |  |  | Integration | System test Process more data

## Slide 8
THANK YOU!